**2013 Annual Drinking Water Quality Report**

**Rural Water District 13 Cherokee County**

We’re very pleased to provide you with this year's Annual Drinking Water Quality Report. We want to keep you informed about the excellent water and services we have delivered to you over the past year. Our goal is and always has been, to provide to you a safe and dependable supply of drinking water. This report shows our water quality and what it means.

Our water source is **Tenkiller Ferry Lake, Surface water**.

If you have any questions about this report or concerning your water utility, please contact **Jesse Dry, 918-316-4026**.We want our valued customers to be informed about their water utility. If you want to learn more, please attend any of our regularly scheduled meetings. They are held on the third Thursday of each month at 7:00 p.m. at the water district plant office.

Rural Water District 13, Cherokee County, routinely monitors for contaminants in your drinking water according to Federal and State laws. This table shows the results of our monitoring for the period of January 1, 2013 to December 31, 2013. (Some of our data may be more than one year old because the state allows us to monitor for some contaminants less often than once per year.) All drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants. It's important to remember that the presence of these contaminants does not necessarily pose a health risk.

**WATER QUALITY DATA TABLE**

**The table below lists all of the drinking water contaminants we detected for the calendar year of this report. The presence of contaminants in the water does not necessarily indicate that the water poses a health risk. Unless otherwise noted, the data presented in this table is from testing done in the calendar year of the report.**

In this table you will find many terms and abbreviations you might not be familiar with. To help you better understand these terms we've provided the following definitions:

*Non-Detects (ND)* - laboratory analysis indicates that the constituent is not present.

*Parts per million (ppm) or Milligrams per liter (mg/l)*

*Parts per billion (ppb) or Micrograms per liter (ug/l)*

*Parts per trillion (ppt) or Nanograms per liter (nanograms/l)*

*Parts per quadrillion (ppq) or Picograms per liter (picograms/l)*

*Picocuries per liter (pCi/L)* - picocuries per liter is a measure of the radioactivity in water.

*Millirems per year (mrem/yr)* - measure of radiation absorbed by the body.

*Nephelometric Turbidity Unit (NTU)* - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

*Action Level* (AL) - the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

*Treatment Technique (TT)* – A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

*Maximum Contaminant Level* (MCL) - The MCL is the highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

*Maximum Contaminant Level Goal* - The MCLG is the level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **WATER QUALITY DATA** | | | | | | |
| Contaminant | Violation  Yes/No | Highest  Level  Detected | Range  Detected | MCL | MCLG | Likely Source of Contamination |
| **Microbiological Contaminants** | | | | | | |
| Total Coliform Bacteria  (System takes ≥40 monthly samples)  (System takes <40 monthly samples)  ***(highest number of samples in a single month)*** | No | 0 |  | 5% positive  1 positive | 0 | Naturally present in the environment |
| Fecal coliform and E.coli  ***(highest number of samples in a single month)*** | No | 0 |  | a routine sample and repeat sample are total coliform positive, and one is also fecal coliform or E. coli positive | 0 | Human and animal fecal waste |
| Turbidity (NTU)  ***(highest single measurement)*** |  |  |  | TT = 1 NTU | N/A | Soil runoff |
| Turbidity (NTU)  ***(highest monthly level)*** |  |  |  | TT ≤ 0.3 NTU in 95% of monthly samples | N/A |  |
| Total Organic Carbon |  |  |  | TT |  | Naturally present in the environment |

**Radiochemical Contaminants**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Arsenic (ppb) | NO | 0 | .005  Mg/L | 10 | 0 | Erosion of natural deposits; runoff from orchards; runoff from glass and electronics production wastes |
| Barium (ppb) | NO | 0 | 0.032  mg/L | 2000 | 2000 | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
| Cadmium (ppb) | NO | .001  mg/L |  | 5 | 5 | Corrosion of galvanized pipes; erosion of natural deposits; discharge from metal refineries; runoff from waste batteries and paints |
|  |  |  |  |  |  |  |
| Chlorine (ppm) |  |  |  | MRDL = 4 | MRDLG = 4 | Water additive used to control microbes |
| Chromium (ppb) | NO | .01  mg/L |  | 100 | 100 | Discharge from steel and pulp mills; erosion of natural deposits |
| Copper (ppm) | NO | .042  mg/L |  | AL=1.3 | 1.3 | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
|  |  |  |  |  |  |  |
| Fluoride (ppm) | NO | 0 | 0.1200  mg/L | 4 | 4 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
|  | | | | | | |
| Lead (ppb) | NO | 0 | .005  mg/L | AL=15  *Action Level – 90% of samples must be below this level.* | 0 | Corrosion of household plumbing systems, erosion of natural deposits |
| Mercury | NO | 0 |  | 2 | 2 | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills; runoff from cropland |
| Nitrate - NO3 (ppm)  (as Nitrogen) | NO | 0 |  | 10 | 10 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
|  | | | | | | |
| Nitrite - NO2 (ppm)  (as Nitrogen) | NO | 0 | .1  mg/L | 1 | 1 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |

**Volatile Organic Contaminants**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Haloacetic Acids (HAA5) (ppb) | NO | 0 |  | 60 | N/A | By-product of drinking water chlorination |
| TTHM [Total trihalomethanes] (ppb) | NO | 0 |  | 80 | N/A | By-product of drinking water chlorination |

Stage 2 DBP Rule requires some systems to complete an Initial Distribution System Evaluation (IDSE) to characterize DBP levels in their distribution systems and identify locations to monitor DBPs for Stage 2 DBP Rule compliance. The following table summarizes the individual sample results for the IDSE monitoring in 2013.

|  |  |  |  |
| --- | --- | --- | --- |
| Contaminant | Number of Analyses | Minimum Level Detected | Highest Level Detected |
| Haloacetic Acids (HAA5) (ppb) | 2 | 0 | 25.10 ug/l |
| Total Trihalomethanes (TTHM) (ppb) | 2 | 0 | 77.20 ug/l |

Unregulated contaminants are those for which EPA has not established drinking water standards. The purpose of unregulated contaminant monitoring is to assist EPA in determining the occurrence of unregulated contaminants in drinking water and whether future regulation is warranted.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water before we treat it include:

*\*Microbial contaminants*, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife.

*\*Inorganic contaminants*, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming.

*\*Pesticides and herbicides*, which may come from a variety of sources such as agriculture and residential uses.

*\*Radioactive contaminants*, which are naturally occurring.

*\*Organic chemical contaminants*, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by *Cryptosporidium* and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Rural Water District 13, Cherokee Countyis responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at *http://www.epa.gov/safewater/lead*.

MCLs are set at very stringent levels. To understand the possible health effects described for many regulated contaminants, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a significant increased risk of having the described health effect.

In our continuing efforts to maintain a safe and dependable water supply it may be necessary to make improvements in your water system. The costs of these improvements may be reflected in the rate structure. Rate adjustments may be necessary in order to address these improvements.

Thank you for allowing us to continue providing your family with clean, quality water this year. In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers. These improvements are sometimes reflected as rate structure adjustments. Thank you for understanding.

Please call our office if you have questions.

We at Rural Water District 13, Cherokee County work around the clock to provide top quality water to every tap, said Superintendent, Jesse Dry.